REQUEST FOR PROPOSALS

CARPET TILE REPLACEMENT AND INSTALLATION

FOR

MCHENRY COUNTY COLLEGE

RFP# 09292011

Issue Date:  September 14, 2011

RFP Response Deadline:  September 29, 2011

McHenry County College

8900 US Highway 14

Crystal Lake, Illinois 60012-2761

Telephone: (815) 455-3700

TABLE OF CONTENTS

1.0	GENERAL REQUIREMENTS	1

2.0	BID SUBMISSION	1

3.0	INSTRUCTION TO BIDDERS:	1

4.0	GENERAL TERMS AND CONDITIONS	1

5.0	SCOPE OF WORK	11

6.0	ATTACHMENTS	21

- CONTRACTOR CERTIFICATION

- BID SUBMISSION FORM

- BID SPECIFICATION EXCEPTION FORM

- REFERENCE LIST

7.0	BUILDING FLOOR PLANS - CARPET TO BE REPLACED	26

- BUILDING C

- BUILDING A

- BUILDING E

# GENERAL REQUIREMENTS

  - Introduction:  McHenry County College (hereinafter “MCC”) is inviting responsible Vendors (hereinafter “Bidder” or “Contractor”) to submit bids to provide Carpet Tile Replacement and Installation Services. A more complete description of the supplies and/or services sought is provided in the Bid Specifications of the RFP.   If you are interested and able to meet these requirements, we would appreciate and welcome a bid.  This RFP will set forth any evaluation criteria to be used in determining product or service acceptability. It may require the submission of bid samples, descriptive literature, technical data, references, licenses, or other information or material.

Unsolicited bid samples or descriptive literature however, are submitted at the vendor’s risk, may not be examined or tested, will not be deemed to vary any of the provisions of the RFP, and may not be utilized by the vendor to contest a decision or understanding with MCC.

1.2	Background: McHenry County College (MCC) is a community college offering pre-baccalaureate programs for students planning to transfer to a four-year university, occupational education leading directly to employment, adult education and literacy programs, work force and workplace development services, and support services to help students succeed.  McHenry County College serves one of the fastest growing counties in Illinois.  MCC is located forty-five miles northwest of downtown Chicago, the college is committed to providing high quality, need-based educational and training opportunities to adult residents of Community College District 528.  Nearly 250,000 residents live within the MCC district boundaries.  The college has one campus.  The campus is located at 8900 U.S. Highway 14, Crystal Lake, IL 60012, with an additional corporate training facility at the Shah Center in McHenry, IL.

1.3	Contact Information/Bid Submission:  The contact, identified below, is the sole point of contact regarding the RFP from the date of issuance until selection of the successful vendor.

Jennifer Jones

Director of Business Services

McHenry County College

8900 US Highway 14

Building A, Room 246

Crystal Lake, IL   60012

Email:  jjones@mchenry.edu

1.4	Term of Contract:  Fall semester ends (last final exam day) on Dec 15th - after which work would start Spring Semester begins Jan 13th - work must be completed.

1.5	Minimum Bidder Qualifications:  The following minimum qualifications must be met by each bidder:  The Bidder shall have previous experience in providing carpet tile replacement and installation and possess manpower and equipment, financial resources, and an organization as herein specified to perform the type, magnitude, and quality of work specified.

1.6	Key Event Dates:  The following dates are set forth for informational and planning purposes; however, MCC reserves the right to change the dates.

| MCC Issues RFP RFP also listed at www.mchenry.edu/bid | September 14, 2011 |
| --- | --- |
| Last Day to Submit Questions Submit all questions to jjones@mchenry.edu | September 20, 2011 |
| Response to Vendor Questions listed by Addendum at www.mchenry.edu/bid | September 23, 2011 |
| Bid End Date | September 29, 2011 |
| Reviewed by MCC Evaluation Team | October 4-5, 2011 |
| Recommendation to Board of Trustees | October 27, 2011 |
| Notification of Award | October 31, 2011 |
| Contract Start Date | TBD by Project Manager after contract approval- Fall semester ends (last final exam day) on Dec 15th - after which work would start Spring Semester begins Jan 13th - work must be completed. |
| Project Manager Contact | Greg Evans, Director of Physical Facilities, 815-455-8564 |

2.0	BID SUBMISSION

2.1	Examination of Solicitation Documents and Explanation to Bidders: Bidders are responsible for examining the solicitation documents and any addenda issued to become informed as to all conditions that might in any way affect the cost or performance of any work.  Failure to do so will be at the sole risk of the bidder.  Should the bidder find discrepancies in or omissions from the solicitation documents, or should their intent or meaning appear unclear or ambiguous, or should any other question arise relative to the solicitation documents, the bidder shall promptly notify the Director of Business Services via email.  The bidder making such request will be solely responsible for its timely receipt by the Director of Business Services. Replies to such notices may be made in the form of an addendum to the solicitation.

2.2	Submission:  The submission of a response shall be prima facie evidence that the vendor has full knowledge of the scope and nature of the project requirements.  Faxed and Email Bids ARE NOT acceptable.  All Attachments in Section 6.0 must be returned with the bid.  All pricing should be included on the Bid Submission Form in Section 6.0.

2.3	Interpretation or Representations:  MCC assumes no responsibility for any interpretation or representations made by any of its officers or agents unless interpretations or representations are incorporated into a formal written addendum to the solicitation.

2.4	Addenda: The only method by which any requirement of this solicitation may be modified is by written addendum.  All addenda to the bid document will be listed at www.mchenry.edu/bid.  MCC is not responsible if a vendor does not receive the proposal revision in time to include the information with the proposal submission.  Addenda shall be acknowledged by signature and included with the bid submission.

2.5	Bid Preparation Costs:  The costs for developing and delivering responses to this RFP are entirely the responsibility of the bidder. The University is not liable for any expense incurred by the bidder in the preparation and presentation of their bid or any other costs incurred by the bidder prior to execution of a Purchase Order or Contract.

2.6	Cancellation of  RFP:  If the Director of Business Services determines that it is in MCC’s best interest, he/she  reserves the right to do any of the following:

- Cancel this RFP

- Modify this RFP in writing as needed

- Reject any or all proposals received in bid to this RFP

2.7	Accuracy/ Withdrawal of Proposals Prior to Bid Opening:  Bids may be withdrawn in writing  any time prior to the opening hour.  However, no proposal may be withdrawn for a period of ninety (90) days subsequent to the opening of the Bid without the prior written approval of the Director of Business Services of McHenry County College.

2.8	Evaluation:  In evaluating the bids submitted, MCC will apply the “Best Value” standard in selecting the vendor to be awarded a contract for this project.  Purchase price is not the only criteria that will be used in the evaluation process.  Any award resulting from this bid will be made to that vendor whose offer conforms to the bid and it is determined to be the most advantageous, or “best value” to MCC, in the sole judgment of MCC.  The selection process will include, but not be limited to, the following considerations:

- The quality and range of services the firm proposes to provide.

- Prior, equivalent work experience within higher education.

- The ability to provide service in an expedient and efficient manner.

- The firm’s overall experience, reputation, expertise, stability and financial responsibility.

- The extent to which the goods or services meet MCC needs.

- The experience and qualifications of the staff that will be assigned to service MCC’s account.

- The provider’s ability to assist MCC in meeting the overall goals of RFP.

- The firm/vendor locale.

- The firm/vendor’s past relationship with MCC, if any.

- Any other relevant factor that a business entity would consider in selecting a firm/vendor.

2.9	Award of Contract: MCC reserves the right to reject any or all prices or bids submitted, waive irregularities, and to accept that bid which is considered to be in the best interest of the College.  Any such decision shall be considered final and not subject to recourse.  Unless we are advised to the contrary, it is understood that the bid has been submitted in strict accordance with specifications.  Any exceptions and explanations regarding the items listed should be delivered with the bid. Submit complete specifications for any substitute offered.   In the event two bidders have submitted equal values for items listed, the in-district bidder will be given preference, everything else being equal.

The successful bidder will be notified within three business days by email or telephone of their award of contract following the Board of Trustees meeting. The vendor may not assign, sell, or otherwise transfer its interest in the contract award or any part thereof without written permission from MCC.  This bid will be awarded in its entirety to one vendor.  MCC reserves the right to make moderate quantity alterations to conform to budget limitations.

# INSTRUCTION TO BIDDERS:  Read the following instructions carefully before submitting any bid. Failure to follow these instructions and the rules may result in the rejection of your bid. MCC reserves the right to reject any and all bids, to waive minor or immaterial irregularities, informalities or technicalities, to advertise for new bids, or to request confirmation or clarification from any bidder regarding a bid.

3.1	Bid Format and Content:  In order for MCC to evaluate bids fairly and completely, bidders must follow the format set forth herein and must provide all of the information requested. All items identified in the following list must be addressed as concisely as possible in order for a bid to be considered complete. Failure to conform to the stated requirements may necessitate rejection of the bid.

- Cover Letter. The cover letter must confirm that the bidder understands all the terms and conditions contained in this RFP and will comply with all the provisions of this RFP and should the contract be awarded to your company, you would be prepared to begin services upon contract approval from MCC. The cover letter must include the full contact information of the person(s) MCC shall contact regarding the bid. A bidder representative authorized to make contractual obligations must sign the cover letter. The letter must also state whether or not subcontractors will be used.

- Experience & Operational Plan. Bidders must describe their capabilities to provide the services requested in this RFP by providing the following:

  - A description of Bidder’s experience as required in this bid.

  - Relevant samples/portfolio of related work, preferably in higher education.

  - Staffing and operational plan for this contract, including use of any subcontractors and description of equipment to be used.

- Biographies of the Account Team.  Bidders must include the biographies of the account team who will be assigned to the project.

- Pricing. All pricing should be inclusive of all related fees, costs, etc.  The college is not responsible for, nor will the College pay, for any costs associated with the bid that are not included in the bid submission.

  - Packaging of Response:  Please submit (1) original and (5) copies of the bid.  The bid documents, must be submitted by mail, hand delivery, overnight carrier or certified mail in a package sealed and labeled showing the following information on the outside:

  - Bidder's complete name and address

  - Solicitation Number

  - Bid Due Date and Time

  - Sealed Bid

  - Late Bids: Regardless of cause, late bids will not be accepted and will automatically be disqualified from further consideration.  It shall be the bidder’s sole risk to assure delivery at the designated office by the designated time.  Late bids will not be opened and may be returned to the bidder at the expense of the bidder or destroyed if requested.

3.4	Bidder’s Signature:  The bid submission form must be signed in ink by an individual authorized to legally bind the business submitting the bid.  The bidder’s signature on a bid in response to this RFP guarantees that the offer has been established without collusion and without effort to preclude MCC from obtaining the best possible supply or service.

  - Bid Opening:  MCC  will open all bids that are submitted in a proper and timely manner  and will record the names and other information specified by law and rule.  All bids become the property of MCC and will not be returned except in the case of a late.

3.6	Responders’ Costs:  The cost of developing a bid for this RFP belongs solely to the bidder  and may not be charged to MCC.

# GENERAL TERMS AND CONDITIONS

4.1	Applicability: These general terms and conditions will be observed in preparing the proposal to be submitted.

4.2	Purchase: After notice of the award, purchase will be put into effect by means of purchase orders or suitable contract documents executed by the Director of Business Services.

4.3	Material Safety Data Sheets:  In compliance with the “Toxic Substance Disclosure to Employees Act” (P.A.83-240) vendor must provide Material Safety Data Sheets (MSDS) within 30 days of  shipment of any and all hazardous substance ordered on this purchase order.  All MSDS sheets must be sent to the Purchasing Office.

4.4	Recycled Materials:  McHenry County College is required to purchase products incorporating recycled materials whenever technically and economically feasible.  Contractors are encouraged to offer products with recycled content which meet specifications conforming to Illinois State Statute 20/30.1 pertaining to public community colleges.

4.5	Right to Cancel: MCC may cancel contracts resulting from this RFP at any time for a breach of any contractual obligation by providing the contractor with thirty-calendar day's written notice of such cancellation.  Should MCC exercise its right to cancel, such cancellation shall become effective on the date as specified in the notice to cancel.

4.6	Taxes:  MCC is exempt from all federal excise, state and local taxes unless otherwise stated in this document.  In the event taxes are imposed on the services purchased, MCC will not be responsible for payment of the taxes.  The vendor shall absorb the taxes entirely. Upon request, MCC’s Tax Exemption Certificate will be furnished.

4.7	Proprietary Information:  Bidder should be aware that the contents of all submitted bids are subject to public review and will be subject to the Illinois Freedom of Information Act.  All information submitted with your bid will be considered public information unless bidder identifies all proprietary information in the proposal by clearly marking on the top of each page so considered, “Proprietary Information.”  The Illinois Attorney General shall make a final determination of what constitutes proprietary information or trade secrets.  While MCC will endeavor to maintain all submitted information deemed proprietary within MCC, MCC will not be liable for the release of such information.

4.8	Negotiation: MCC reserves the right to negotiate all elements, which comprise the bidder’s proposal to ensure the best possible consideration, be afforded to all concerned.  MCC further reserves the right to waive any and all minor irregularities in the proposal, waive any defect, and/or reject any and all proposals, and to seek new proposals when such an action would be deemed in the best interest of MCC.

4.9	Retention of Documentation: All bid materials and supporting documentation that is submitted in response to this proposal becomes the permanent property of MCC.

4.10	Insurance Requirements:  If fabrication, construction, installation, service or other work is specified to be conducted on MCC’s premises, supplier shall maintain in force during the period of such work the following coverage’s: (a) worker’s compensation, as required by the laws of the State of Illinois; (b) commercial general liability for bodily injury and/or property damage in an amount of not less than $1,000,000 single limit, per occurrence; (c) automobile liability for bodily injury and/or property damage in an amount of not less than $1,000,000 single limit, per occurrence.  The successful bidder shall provide a certificate of insurance naming McHenry County College as additional insured.

4.11	Indemnification: The Contractor shall protect, indemnify and hold MCC harmless against any liability claims and costs for injury to or death of any person or persons and for loss or damage to any property occurring in connection with or in any incident to or arising out of occupancy, use, service, operations or performance of work in connection with the contract, resulting in whole or in part from the negligent acts or omissions of the Contractor.

4.12.	Successors and Assigns:  Contractor shall not assign any rights under or interest in the contract award without the prior written consent of the Owner.  This Agreement shall be binding upon and inure to the benefit of the parties hereto and their respective successors and assigns.

4.13	Substitutes to Specifications:  Consideration will be given to alternatives if they are a standard manufactured item as evidenced by literature and specifications enclosed with this bid document.  A demonstration may be requested.  Submit complete specifications for any substitute offered.   A complete disqualification could result without these reference materials attached.  Indicate warranty specifications that apply to the items included in your bid.

4.14	Disclosure: Contractors shall note any and all relationships that might be a conflict of interest and include such information with the bid.

4.15	Terms of Payment:  MCC operates under terms of payment for work completed and product delivered within Net 30 days from date of invoice.  All payments of invoices need to be approved on a monthly basis.  In no case will MCC agree to late fees prior to 60 days before payment is received, this is based on State Statutes for State funded entities.

4.16	Equal Employment Opportunity:  To the extent that Vendor is subject to governmental orders, rules or regulations pertaining to Equal Employment Opportunity and/or  to the maintenance or  Non-segregated Facilities.  Vendor hereby certifies that it is complying therewith, including where applicable, the submission and/or filing of Equal Employment  Opportunity Compliance Reports and/or Certificates and/or filing of Certificates on Non-segregated Facilities.  Compliance with  the rules and regulations  of the     F.E.P.C., Article III, Section 3.1, Equal Employment Opportunity clause is required.

4.17	Prevailing Wage Law:  The Illinois Prevailing Wage Act, 820 ILCS 130/01 et.seq. shall be mandatory for all contractors and subcontractors who are hired by the College.  The Act requires contractors  and subcontractors to pay laborers, workers, and mechanics performing services on public works projects no less than the prevailing rate of wages in the county where the work is  performed.  The Illinois Department of Labor periodically determine what rate is in various locales throughout the State, Illinois Prevailing Wage Act, June 26, 1941, as amended,  being Section 39A-9 of Chapter 48 of the Illinois Revised Statutes, 1977.

4.18	Web Accessibility: As required by Illinois Public Act 095-0307, all information technology, including electronic information, software, systems, and equipment, developed or provided under this contract must comply with the applicable requirements of the Illinois Information Technology Accessibility Act Standards as posted at http://www.dhs.state.il.us/iitaa

5.0	SCOPE OF WORK

# SECTION  09 68 13 - Tile

PART 1 - GENERAL

1.01	SUMMARY

A.	Section Includes: Carpet removal, new carpet tile and accessories for direct glue down installation.

B.	Alternates or Substitutions: Approval of alternate or substitute products will be considered only under the terms and conditions as outlined below:

Whenever a particular make of material or trade name is specified herein, it shall be regarded as being indicative of the standards required.  Regardless of format of specifications, any product other than those named in Part 2 -Products, item number 2.01, must proceed as an alternate or substitute.  A bidder who proposes to quote on the basis of an alternate or substitute material or system shall submit to the architect, at least ten (10) days prior to the scheduled bid date, the following information:

1.	Written application for approval of alternate or substitute to include specifications of alternate or substitute carpet on company letterhead and signed by company officer.

- Include completed and signed checklist from Section 2.03.

- Sixteen (16) samples of the proposed alternate or substitute with recommended backing technology to provide a mock-up of the pattern.

- A complete sample representation of colors available.

- Copies of warranties for proposed alternate or substitute.

- List of a minimum of three (3) jobs, one of which must be in use for at least ten (10) years, where alternate or substitute is/was used under similar conditions.  These jobs shall be located within one hundred (100) miles of the owner's office. Each job shall be available for inspection by the owner's representatives.

- Consideration will be given to only those alternates or substitutes that are approved prior to scheduled bid opening date.

- List of approved alternates or substitutes will be issued to all bidders prior to bid opening.

C:	General: The following publications of the issues listed below, but referred to hereinafter by basic designation, form a part of this specification to the extent as if bound herein:

American Society for Testing and Materials (ASTM):

- E84 – Test Method for Surface Burning Characteristics of Building Materials.

- E648 – Test Method for Critical Radiant Flux of Floor Covering Systems Using a Radiant Heat Energy Source.

1.02	SUBMITTALS

A.	Layout Drawings: Show layout of each carpet type installation, at 1/8" scale.

B.	Samples: Submit for verification purposes, one full tile of each carpet required.  Samples shall be accompanied by manufacturer's technical specification for each carpet required using terminology characteristics as listed in this specification.  Also, include a complete representation in sample form of all available colorations.

C.	Maintenance Data: Submit manufacturer's printed maintenance recommendations for the care, cleaning, and maintenance of the carpet, including detailed instructions pertaining to hot water extraction methods.

1.03	QUALITY ASSURANCE

A.	Flooring Contractor's Qualifications: Firm with not less than 5 consecutive years of experience in installation of commercial carpeting of type, quantity and installation methods similar to work of this section.  FLOORING CONTRACTOR SHALL SUBMIT WITH BID PROPOSAL WRITTEN CERTIFICATION FROM CARPET MANUFACTURER, DEMONSTRATING THEIR FIRM IS AN AUTHORIZED DEALER.

B.	Manufacturer's Qualifications: Firm (carpet mill) with not less than 5 consecutive years of production experience with carpet similar to type specified in this section; whose published product literature clearly indicates general compliance of products with requirements of this section.

C.	Measurement Verification: Dimensions shown on drawings are approximate.  It is the Flooring Contractor's responsibility to verify all dimensions and job site conditions; order sufficient yardage to fully carpet areas as indicated and to fill overage requirements as specified.  No substitutions shall be permitted to make up for any shortage of material in overage or in carpet to be installed.

D.	Flooring Contractor shall be totally responsible for the accuracy of his measurements of total yardage, individual floor yardage, and dye lot yardage requirements, extra yardage for pattern match, and roll length requirements; no additional compensation shall be allowed for shortage of materials.

E.	Dye Lots: All carpet of the same type in continuous areas shall be from the same dye lots.

- Owner reserves the right to test carpet at their expense to verify that the delivered carpet is as specified.  If carpet does not meet specifications, manufacturer will reimburse owner the testing expense and the carpet may be rejected.

1.04	PRODUCT DELIVERY, STORAGE & HANDLING

A.	Deliver carpeting materials in original mill protective package with mill register numbers and tags attached.  Maintain wrappers and protective covers in place until carpet is ready for installation.  Store inside, in well-ventilated area, protected from weather, moisture and soiling.

B.	Cutting: Before beginning installation, it shall be inspected for defects, color variations, or shipping damage and be immediately replaced if any of these conditions exist at no additional cost to the Owner.  Carpet tiles shall be inspected to insure that carpet tiles are from the same dye lot.

C.	Deliver all required overages and maintenance stock to owner's specified location prior to beginning installation.

1.05	JOB CONDITIONS

A.	Environmental Conditions: Maintain temperatures in space in accordance with carpet manufacturer's recommendations, but in no case less than 60 degrees F for 24 hours prior to, during and after installation.  Subfloor temperature should be a minimum 60 degrees F for 24 hours prior to and after installation.

B.	Precondition: All of the carpet shall be stored in a room on site 24 hours prior to actual installation with the room preconditioned at a minimum of 60 degrees F with humidity between 35% to 65%.

1.06	SEAMING REQUIREMENT

A.	General: In addition to the requirements and recommendations of the Carpet Manufacturer, the following criteria shall be adhered to:

- Installation layout shall enable future replacement, especially in large open areas and traffic paths, unless specifically indicated in writing by owner or owner's representative.

- No carpet tile pieces smaller than 6” in width or length shall be used.

- Seams occurring at doors of different types of carpet shall be parallel to closed door, and be centered directly under the closed door.

- Flooring Contractor is responsible for trimming all loose yarn and fuzzy edges of carpet tiles.

- All cutting of carpet for telephone and electrical outlets shall be the responsibility of the Flooring Contractor.

1.07	WARRANTY

A.	General: Provide special warranty, signed by Flooring Contractor, and Carpet Manufacturer, agreeing to repair or replace defective materials and workmanship of carpeting work during a 10 year warranty period following date of Substantial Completion.  Attached copies of product warranties as required in Part 2, item 2.01 of this specification section for warranties required.

1.08	EXTRA STOCK

A.	General: Furnish 5% additional yardage of each carpet type required; extra yardage is over and above any overage provided by manufacturer.  Normal manufacturing overage not to exceed 10% for under 1000 yards, not to exceed 5% for over 1000 yards.  Deliver to the Owner uncut in clearly marked dust-proof packages prior to commencement of work; store where directed.

PART 2 -  PRODUCTS

2.01	CARPET

          - Carpet Type CPT-1: Carpet shall meet the following minimum requirements:

1.	Construction:	Tufted.

2. 	Surface Texture: 	Patterned  loop

3. 	Pile Thickness:	.129” avg.

4. 	Gauge:	1/12” minimum

- Yarn Weight:	22 oz. per sq. yd. minimum.

- Face Yarn:	Duracolor premium fiber with Antron Legacy

- Fiber Technology	Duracolor Stain Resistant System. Passes GSA requirements for permanent stain resistant carpet.

- Dry Soil Retardant:	DuraTech by Invista.

- Primary Backing:	Reinforced synthetic

- Secondary Backing:	Fiberglass reinforced composite

- Bonding Agent:	Premium Vinyl

- CRI ARR Rating:	Severe Traffic

- Static Control:	3.0 KV when tested under Standard Shuffle test (70 degrees, 20% RH )

- Flammability:

  - DOC-FF-1-70

Pill Test:	Passes.

  - Floor Radiant

Panel:	Meets NFPA Class 1 when tested per ASTM-E-648 glue down.

16.	NBS Smoke Chamber

NFPA 258: 	Less than 450 Flaming Mode.

17. 	Color Fastness:

a.	Lightfastness- 	AATCC 16E-1982 - Dark color: Gray scale rating of 4 or better after 160 standard fading hours as compared to AATCC Gray Scale for evaluation change in color.

b.	Ozone and Gas- 	AATCC 129-1981 - Rating 3 or better per color AATCC transference scale.

18. 	Indoor Air Quality:	Manufacturer must demonstrate that carpet is certified under the CRI Green Label Plus Program.

19.	 Carpet Manufacturers:	Subject to compliance with specifications, the following manufacturers and product style are approved:

Manufacturer: LEES Carpet

Style: Photofinish DK943

20.	 Pattern and Color:	Understanding the importance of pattern and color for aesthetics, as well as appearance retention and maintainability, the architect reserves the right to reject any product or manufacturer based solely on pattern and color considerations.

          - WARRANTIES

1.	Definition of Lifetime: Lifetime is defined as the period from which materials are installed until the date in which the owner removes them from service.

2.	Carpet manufacturer’s Lifetime Warranty, non-prorated, against product failure covering all costs including freight, labor, and material for the following:

- Edge Ravel/Tuft Bind.

- Back lamination.

- Static protection as stated above.

- Wear - No more than 10% Face Yarn Loss.

- Cup, Dome, Dish

- Dimensional stability

- Adhesive bond to the floor

- Permanent stain resistance to acid-type spills

- Installation Warranty: Lifetime Warranty, non-prorated, against any installation related failure covering all costs including freight, labor, and material co-signed by the flooring contractor and the manufacturer.

          - ENVIRONMENTAL ATTRIBUTES – LEED Criteria

- Environmental claims by manufacturer must comply with FTC guidelines.

- Carpet Face Yarn:  In accordance with Executive Order 13101, carpet face yarn must be third party certified as an Environmentally Preferred Product (EPP).

- Low Emitting Materials: Carpet and all installation components including adhesives, sealers, seam welds and seam sealers must meet the Low Emitting Materials standards as outlined in U.S. Green Building Council LEED criteria.  Carpets should pass the CRI Green Label Plus Program in terms of VOC emissions.  Adhesives must meet VOC emissions standards per South Coast Air Quality Management District Rule #1168.

- End of Life Reclamation: Carpet must have an existing methodology actively in place to achieve landfill diversion.  Refer to Section 3.03 of this section for specific requirements for reclamation of material.

2.02	ACCESSORIES

A.	Adhesives: Waterproof, non-flammable carpet adhesive recommended and approved by carpet manufacturer in writing for compatibility with carpet backing.  All floor sealers, seam sealers, and adhesives shall contain no calculated solvents per OSHA Regulation 29 CFRE 1910.1200, have no calculated VOC's, be non-flammable, and meet the criteria of the CRI Green Label Plus Certification Program.  MSDS and samples required on products used.

B.	Miscellaneous Materials: As recommended and approved in writing by manufacturer of carpet, and selected by Flooring Contractor to meet project circumstance and requirements.

C.	Protection Paper: Fortifiber Corporation "Seekure 892", or approved heavy, reinforced, non-staining kraft laminated paper.

2.03	SUBMITTAL CHECKLIST

A.	Checklist Instructions:  For all submittals for alternates or substitutes, submitter must include the checklist below, completely filled out and signed by an officer of the company.  Failure to provide this documentation will result in rejection of submittal.

1.	Fill-in the left column with the actual data as it pertains to your alternate or substitute.  If more room is required, attach additional pages.

2.	Circle either yes or no indicating whether or not the submitted product meets or exceeds the specification requirements for each checklist item.

- Checklist Form: See next page.

C.	Checklist Form:

1.	Submitting company's name: __________________________________________________________

2.	Checklist preparer's name: ____________________________________________________________

3.	Submitted product manufacturer: ______________________________________________________

4.	Submitted product style name: ________________________________________________________

5.	Checklist:

| Specification Citation: (Please enter submittal information) | Circle Answer |
| --- | --- |
| Section 09681 Part 2.01.A, B, C, and D: |  |
| 1. Construction: | YES / NO |
| 2. Surface Texture: | YES / NO |
| 3. Pile Thickness: | YES / NO |
| 4. Gauge: | YES / NO |
| 5. Stitches: | YES / NO |
| 6. Yarn Weight: | YES / NO |
| 7. Density: | YES / NO |
| 8. Face Yarn: | YES / NO |
| 9. Dye System: | YES / NO |
| 10. Dry Soil Retardant: | YES / NO |
| 11. Primary Backing: | YES / NO |
| 12. Secondary Backing: | YES / NO |
| 13. Bonding Agent: | YES / NO |
| 14. Size: | YES / NO |
| 15. Sq. Yds. per Carton: | YES / NO |
| 16. Static Control: | YES / NO |
| 17. Flammability: | YES / NO |
| 18. NBS Smoke Chamber: | YES / NO |
| 19. Color Fastness: | YES / NO |
| 20. Indoor Air Quality: | YES / NO |
| 21. Carpet Lifetime Warranty (Part B, Item 1& 2) | YES / NO |
| 22. Installation Lifetime Warranty (Part B, Item 3): | YES / NO |
| 23. Cationic Stain Resistance (Part C, Item 1): | YES / NO |
| 24. Environmental Attributes (Part D, Items 1-4): | YES / NO |

- Preparer’s Signature and Date:__________________________________________________

PART 3 - EXECUTION

3.01	CARPET REMOVAL

A.	Remove and dispose of all existing carpet and materials to make subfloor acceptable for installation if applicable.

3.02	INSPECTION

A.	General: Do not start work until work of other trades are substantially completed.  Inspect surfaces to receive carpet and verify that all such work is complete to the point where this installation may properly commence.  In the event of discrepancy, notify Construction Manager.  Do not proceed with installation in areas of discrepancy until all such discrepancies have been fully resolved.  Start of carpet installation indicates acceptance of subfloor conditions and full responsibility for completed work.

B.	Materials: Inspect all goods to verify all goods uniformity, quality, color and texture against the approved samples prior to installation.  Any discrepancy should be brought to the attention of the Construction Manager.

3.03	CARPET RECLAMATION

A.	 SUBMITTALS

- 1.	Proposed dust-control measures.

- 2. 	Proposed packing and transportation measures.

- 3. 	Schedule of carpet reclamation activities indicating the following:

- a. 	Detailed sequence of removal work.

- b.	 Inventory of items to be removed and recycled.

- 4. 	Reclamation agency records indicating receipt and disposition of used carpet.

B.	QUALITY ASSURANCE

1. 	Reclamation Agency: Firm [or designated agent firm] providing used carpet recycling program.

2. 	Carpet Remover: Firm [or designated agent firm] providing carpet removal services for recycling purposes.

3. 	Regulatory Requirements: Comply with governing regulations. Comply with hauling and disposal regulations of authorities having jurisdiction.

4. 	Record off-site removal of debris and materials and provide the following information regarding the removed materials. Time and Date of Removal; Type of Material; Weight and Quantity of Materials; Final Destination of Materials.

5. 	Certification: Reclamation Agency and Carpet Remover shall certify in writing that used carpet was removed and recycled to assure carpet is not landfilled.

6. 	Removed carpet and associated materials shall not be removed and placed in a landfill.

C.	PREPARATION

- Vacuum used carpet before removal.

- D. 	 CARPET REMOVAL

- Remove used carpet in large pieces, roll tightly, and pack neatly in container. [Include carpet scrap and waste from new installation.] Immediately remove from Site and place in container or trailer.

- Deposit only clean, dry used carpets in containers. Clean shall be defined as carpet free from demolition debris or asbestos contamination, garbage, and tack strips.

E. 	 CONTAINER DISPOSAL

- Place used carpet in 40-yd 3 (30.5 m 3) container supplied by reclamation agency. Containers are fully enclosed, front (end) loading. Place only used commercial carpeting in collection container. Container shall be kept locked or supervised.

- Use effective packing techniques to maximize the amount of material in the container. On

- average, container holds 2000 to 3000 yd 2 (1672 to 2508 m 2).

- Neatly stack carpet tiles or repack in cardboard boxes prior to placing in container.  Do not stack higher than 6 feet (1.8 m).

- When container is full, contact reclamation agency to coordinate pickup and drop-off of replacement container. If container is locked for security purposes, remove the lock prior to pickup.

3.04	INSTALLATION, GENERAL

A.	General: Comply with manufacturer's instructions and recommendations for installation of this type of carpet by the glue down method.

B.	Prepare the subfloor to insure a successful installation.  Utilize a floor sealer such as Lees Everseal where needed or recommended by manufacturer.

C.	Carpeting shall be installed with pile lying in the same direction.  Cut carpet evenly and accurately to fit neatly at walls, columns, and projections.  Extend carpet under open-bottomed and raised-bottom obstructions, and under removable flanges of obstructions.

C.	Installed carpet shall be free from ripples, ravels, frays, puckers and raw exposed edges.  All loop pile carpets will demonstrate some fuzzy edges due to normal manufacturing conditions.  It is the carpet installer’s responsibility to trim all edges to eliminate fuzzy seams.

D.	Expansion Joints: Do not bridge building expansion joints with continuous carpeting, provide for movement.

3.05	CLEANING AND PROTECTION

A.	Remove and dispose of debris and unusable scraps.

B.	Vacuum carpet using two motor, top loading, upright commercial machine with brush-only element, utilizing a high filtration dust bag.  Remove spots in accordance with carpet manufacturer’s guidelines and replace carpet where spots cannot be removed.  Remove any protruding face yarn using sharp scissors.  Be certain to trim any loose yarns or fibers at all seams.

C.	Following cleaning and vacuum, carefully protect the carpeting from soiling and damage until final acceptance.  Protection shall be accomplished by using approved  protection paper.  Edges shall be lapped 6 inches and secured with non-asphaltic tape.  Covering shall be kept in repair and damaged portions replaced during the construction and move-in period.

D.	Maintenance Materials: Deliver usable, uncut carpet tiles to Owner's designated storage space, properly packaged and identified.  Dispose of smaller pieces as construction waste.

6.0

ATTACHMENTS

CONTRACTOR CERTIFICATION

Illinois Revised Stature 1987

Chapter 38, Sections 33E-3 and 33E-4

The undersigned hereby certifies that it is not barred from bidding on this contract as a result of violation of either Section 33E-3 (bid rigging) or 33E-4 (bid rotating) of the Illinois Revised Statutes 1987, Chapter 38.

Under penalty of perjury, the undersigned Contractor certifies that this proposal has not been arrived at collusively or otherwise in violation of Federal or Illinois antitrust laws.

Company Name  __________________________________________________________________

By *  ___________________________________________________________________________

Address  ________________________________________________________________________

City/State/ZIP  ___________________________________________________________________

- Must be actual signature in ink of a representative of Contractor authorized to legally commit the Contractor.

Section 33E-5(b) pertains to disclosure of information related to the terms of a bid and any bidder's responsiveness to a request for bids.  Specifically, district officials or employees must not knowingly open a sealed bid at a time or place other than as specified by the district.  Also, any official who knowingly discloses any information related to the terms of a sealed bid or any bidder's responsiveness to the request for bids commits a class 3 felony.  This section does allow, however, that no violation occurs if any disclosure made to an interested person also is made generally available to the public.  CONSEQUENTLY, COLLEGES SHOULD BE CAUTIOUS NOT TO DISCLOSE ANY INFORMATION THAT IS NOT RELEASED TO THE PUBLIC.

Section 33E-6 contains several provisions potentially impacting College purchasing procedures.  SPECIFICALLY, A PERSON COMMITS A CLASS 4 FELONY WHEN INFORMATION CONCERNING THE SPECIFICATIONS OF A CONTRACT IS KNOWINGLY CONVEYED TO A BIDDER OR PROSPECTIVE BIDDER OTHER THAN THROUGH THE BID INVITATION, PRE-BID CONFERENCE, OR CONTRACT SOLICITATION PROCEDURE.  Thus, once an INVITATION FOR BID for a particular contract is released, MCC cannot respond to individual inquiries from bidders.  Likewise, no information may be volunteered concerning potential Subcontractors if the contract involves subcontracting work.

BID SUBMISSION FORM -1 of 2

Bid Submitted By and Authorized Signature:  The individual's signature below constitutes that the person is an officer of the company who is authorized to contractually obligate the company listed below.  They further constitute that they have read and agree to all instructions and specifications listed in this bid document unless otherwise marked and listed in the "exception to bid" section.

Bid Submitted by:	________________________________________________________

Signature:	________________________________________________________

Title:	________________________________________________________

􀂉 	The Owner/	 􀂉	Member of the 	􀂉 	 Officer of the 	􀂉	Member of the

Sole Proprietor		Partnership		Corporation		Joint Venture

Company:	________________________________________________________

Address:	________________________________________________________

________________________________________________________

________________________________________________________

Email Address:	________________________________________________________

Telephone:	________________________________________________________

Fax:	________________________________________________________

Date:	________________________________________________________

Contract Person:	 _______________________________________________________

FEIN:	 _______________________________________________________

BID SUBMISSION FORM -2 of 2

Pricing must incude carpet tiles, removal of existing carpet, installation of carpet tiles, adhesive, thresholds, new vinyl base installation, and all other costs associated with this services must be included; no hidden costs.

| Building A-First Floor |  |  |
| --- | --- | --- |
| Room A100 |  |  |
| Room A101 |  |  |
| Room A102 |  |  |
| Room A103 |  |  |
| Room A121 |  |  |
| Room A123 |  |  |
| Building C |  |  |
| C105 |  |  |
| C106 |  |  |
| C118 |  |  |
| C121 |  |  |
| Building E-First Floor |  |  |
| E100 |  |  |
| E102 |  |  |
| E104 |  |  |
| E117 |  |  |
| E119 |  |  |
| Other Please List |  |  |
|  | TOTAL COST |  |

BID SPECIFICATION EXCEPTION FORM

Any exceptions, variations, or clarifications to the Specifications must be set forth on this form and included with the Bid Proposal Form. These exceptions must be spelled out in detail, numbered, and make reference to exact page number for easy comparison.

Failure of the bidder to note on this form any and all exceptions to any portion of the specifications means that the bidder must meet or exceed in all respects any and all specifications not so noted.

Failure to denote exceptions in the above manner may be cause for rejection of the entire bid.

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

REFERENCE LIST

List four companies, colleges/universities preferred, to whom your company has sold and installed comparable products within the last three years:

1.	NAME:  	______________________________________________________

ADDRESS:  	______________________________________________________

______________________________________________________

______________________________________________________

PHONE:  	______________________________________________________

2.	NAME:  	______________________________________________________

ADDRESS:  	______________________________________________________

______________________________________________________

______________________________________________________

PHONE:  	______________________________________________________

3.	NAME:  	______________________________________________________

ADDRESS:  	______________________________________________________

______________________________________________________

______________________________________________________

PHONE:  	______________________________________________________

4.	NAME:  	______________________________________________________

ADDRESS:  	______________________________________________________

______________________________________________________

______________________________________________________

PHONE:  	______________________________________________________

7.0

BUILDING FLOOR PLANS

CARPET TO BE REPLACED